## Integration
Sunbeam Generators Pvt. Ltd.
Pondicherry – 605502
PDI CHECKLIST — INTEGRATION
KVA :
DATE :
JPC NUMBER :
INTEGRATION
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | Air cleaner support U clamp missing
2 | Baffle plate bolt looseness
3 | Bottom bolt looseness
4 | Bottom bolt missing
5 | Breather hose improper tightness
6 | Breather missing
7 | Control panel support missing
8 | Control panel support stand bolt looseness
9 | Coolant drain hose looseness
10 | Door bush missing
11 | Door catcher looseness
12 | Door diagonal issue
13 | Door setting correction
14 | ECU cover missing
15 | EGT strip missing
16 | Extra door bolt looseness
17 | Extra door bolt missing
18 | Fuel gauge not connected
19 | Fuel lock missing
20 | Fuel tank support plate missing
21 | Inner beading missing
22 | Lock nut looseness
23 | Lube oil hose looseness
24 | Name plate missing
25 | Radiator cap missing
26 | Radiator support missing
27 | Rain flap missing
28 | Sealant improper
29 | Silencer damage
30 | Silencer strip missing
31 | Supply module hose clip missing
32 | Tail pipe missing
33 | Top roof stiffener bolt looseness
34 | Top roof stiffener bolt missing
35 | Vaccum indicator missing
Legend: Mark ✓ under OK if satisfactory, or ✓ under NOT OK if it requires attention / rework. If an item was previously marked NOT OK and rework has since been completed, tick OK and write "Rework completed" under REMARKS.
Example of a completed entry:
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
Ex | Sample – item checked and found satisfactory | ✓
Ex | Sample – item requires attention / rework |  | ✓
Ex | Sample – item was NOT OK, rework completed | ✓ |  | Rework completed
Revision as on date:
Inspected By: _______________________ Signature: _______________________ Date: _______________

## Testing
Sunbeam Generators Pvt. Ltd.
Pondicherry – 605502
PDI CHECKLIST — TESTING
KVA :
DATE :
JPC NUMBER :
TESTING
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | Alternator terminal box missing
2 | Ambient sensor missing
3 | Ambient sensor not tight
4 | Battery strip missing
5 | Control panel wiring tie not done
6 | Controller DM1 and DM2 error problem
7 | Controller support clip & screw missing
8 | Coolant 1 liter missing
9 | Coolant sensor missing
10 | Documentation missing
11 | Earthing cable control panel looseness
12 | ECU clamp missing
13 | EGT sensor looseness
14 | EWAP report missing
15 | Fuel filter banjo missing
16 | Fuel sensor not connected
17 | Hooter plate missing
18 | KRM missing
19 | Lamp not fixed
20 | Manhole plate bolt not tight
21 | Manhole plate not fixed
22 | Nox sensor not tight
23 | Packing slip missing
24 | Recovery bottle coolant low level
25 | Shower testing not done
26 | Stickering misalignment
27 | Stickering not done
28 | Supply module L clamp missing
29 | Temperature sensor looseness
30 | Wiring harness routing improper
Legend: Mark ✓ under OK if satisfactory, or ✓ under NOT OK if it requires attention / rework. If an item was previously marked NOT OK and rework has since been completed, tick OK and write "Rework completed" under REMARKS.
Example of a completed entry:
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
Ex | Sample – item checked and found satisfactory | ✓
Ex | Sample – item requires attention / rework |  | ✓
Ex | Sample – item was NOT OK, rework completed | ✓ |  | Rework completed
Revision as on date:
Inspected By: _______________________ Signature: _______________________ Date: _______________

## Stuffing-Baseframe-Powder
Sunbeam Generators Pvt. Ltd.
Pondicherry – 605502
PDI CHECKLIST
KVA :
DATE :
JPC NUMBER :
STUFFING
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | Cladding not done
2 | Door lock plate missing
3 | Foam damage
4 | Foam improper
5 | Foam not done
BASE FRAME
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | Base frame corner rust observed
2 | Fuel tank sticker missing
3 | Paint peel-off
4 | Poor coverage
5 | Rundown
POWDER COATING
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | Canopy frame corner poor coverage
2 | Canopy panel poor coverage
3 | Canopy panel poor overcoating
4 | Door panel poor coverage
5 | Door panel poor overcoating
6 | Louver poor coverage
7 | Rope guard poor coverage
8 | Top mesh poor coverage
Legend: Mark ✓ under OK if satisfactory, or ✓ under NOT OK if it requires attention / rework. If an item was previously marked NOT OK and rework has since been completed, tick OK and write "Rework completed" under REMARKS.
Example of a completed entry:
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
Ex | Sample – item checked and found satisfactory | ✓
Ex | Sample – item requires attention / rework |  | ✓
Ex | Sample – item was NOT OK, rework completed | ✓ |  | Rework completed
Revision as on date:
Inspected By: _______________________ Signature: _______________________ Date: _______________

## Customer Complaint
Sunbeam Generators Pvt. Ltd.
Pondicherry – 605502
PDI CHECKLIST — CUSTOMER COMPLAINT
KVA :
DATE :
JPC NUMBER :
CUSTOMER COMPLAINT
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
1 | 4 Pin Relay Pin Looseness
2 | Baffle plate Support Clamp Not Fixed
3 | Control Panel Battery Charger not tightened
4 | Control panel door is not closing properly -All panels
5 | Control panel thickness not as per KOEL drawing Observed 1.5 mm instead of 2 mm
6 | Control panel wiring loose connection
7 | Controller lock screw missing
8 | Coolant level Sensor Missing
9 | DEF in line hose Missing
10 | Diesel leakage from diesel tank
11 | Diesel tank support clamps and bolts are missing.
12 | Door Gaps uneven
13 | Earth provisions are to be provided on both sides of the base frame
14 | Engine harness improper route & not provide support clamp
15 | Engine Harness support clamp not fixed in canopy bottom side -320 Above
16 | Excess bends observed in top panel cover plate
17 | Exhaust pipe flange fouling with canopy top panel
18 | Fuel gauge with the correct part numer was not installed
19 | Fuel tank breather bolt observed loose fitted
20 | Gap observed in fuel filling neck
21 | Improper Battery Mounting
22 | Nyloc nut not fitted for door lock
23 | Radiator Coolant Filling Cap missing
24 | Radiator Coolant Hose Clamp Missing
25 | Radiator Support bolt missing
26 | Rain flap & Tail pipe ware not packed in air bubble wrap sheet so radiator core damage during unloading
27 | silencer flange bolt not proper tight
28 | Tail Pipe Short Supply
29 | The canopy door rups against the rain guard when opening , there is insufficient clearance between the door and the rain guard (40KVA)
30 | The Canopy temp sensor fitment direction is incorrect
31 | The perforated sheet end finishing and canopy foam fixing are poor workmanship
32 | Welding Poor in the CP Support
Legend: Mark ✓ under OK if satisfactory, or ✓ under NOT OK if it requires attention / rework. If an item was previously marked NOT OK and rework has since been completed, tick OK and write "Rework completed" under REMARKS.
Example of a completed entry:
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
Ex | Sample – item checked and found satisfactory | ✓
Ex | Sample – item requires attention / rework |  | ✓
Ex | Sample – item was NOT OK, rework completed | ✓ |  | Rework completed
Revision as on date:
Inspected By: _______________________ Signature: _______________________ Date: _______________

## Customer Complaint-2
Sunbeam Generators Pvt. Ltd.
Pondicherry – 605502
PDI CHECKLIST — CUSTOMER COMPLAINT
KVA :
DATE :
JPC NUMBER :
CUSTOMER COMPLAINT
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
33 | Additional washers and bolts were found inside the base frame.
34 | Battery dislocated and felt down
35 | Battery Lead + & - Cap missing
36 | Bellow fitment bolt orientation not maintained
37 | Bellows fitment bolt torque was not applied, resulting in a gap between the flange and the bellows.
38 | Coolant trace mark found in bottom sheet , No coolant leakage
39 | Door bottom partition edge noticed rusty
40 | Foam found damage
41 | Foam not covered after partition bolt fitment.
42 | Foam not covered after partition bolt fitment.
43 | Foam pasting looks very shabby
44 | Foam pasting looks very shabby.
45 | Fuel Neck pipe powder coating peel off
46 | Fuel tank stopper dislocated and bolt felt down
47 | Fungus accumulation was observed on the rain flap
48 | Gap observed between Roof & Patriation
49 | High condensation content on the alternator shaft & Winding
50 | Hot Chamber side partition edge noticed rusty
51 | KGM unit wire connection not done
52 | MCCB Neutral input wire connection n found loose
53 | Panel door hinges fitment bolts found completely loose
54 | Panel MCCB cutout misaligned due to door slag
55 | Panel mounting fitment bolt felt down
56 | Panel top bracket fitment bolts used wrong size
57 | Power Cable not inserted inside MCCB screw
58 | Radiator mounting bracket shifted look based on the washer marks on the solts sides
59 | Rainwater accumulated hot air Chamber side
60 | Rainwater has accumulated inside the bottom sheet, and it looks very muddy.
61 | Reservoir tank cap fitted tilt and loose
62 | Rodent Entry guard damaged
63 | Roof harness stud nut get rusted due to High moisture content
64 | Tailpipe Rusty
65 | The fan guard rope is broken at the welding spot.
66 | Wire Loose / Found Lugs pin not inserted properly
Legend: Mark ✓ under OK if satisfactory, or ✓ under NOT OK if it requires attention / rework. If an item was previously marked NOT OK and rework has since been completed, tick OK and write "Rework completed" under REMARKS.
Example of a completed entry:
S.NO | OBSERVATION POINT | OK | NOT OK | REMARKS
Ex | Sample – item checked and found satisfactory | ✓
Ex | Sample – item requires attention / rework |  | ✓
Ex | Sample – item was NOT OK, rework completed | ✓ |  | Rework completed
Revision as on date:
Inspected By: _______________________ Signature: _______________________ Date: _______________